## Slide 1: CC calibration
HV matching:
  LTCC: fit SPE and calculate HV
  HTCC: fit nspe and calculate HV
  Read and set HV (CCDB)
  Read and set HV (Crate)
SPE calibration
  LTCC: fit SPE and calculate HV
  HTCC: fit nspe and calculate HV
    Read and set calib parameters (CCDB)
LTCC: SPE run (self trigger) and/or “online” calibration.
HTCC: Special run (LED) and/or “online” calibration.
Produce ROOT file / calibration run / run period
Produce online plots / calibration run / run period

## Slide 2: CC calibration
Done: CCDB interface
CCDB table definitions: will define together when ready.
C++ : GUI / cc_calib software: Mauri
Hybrid Banks reading: Nick
Crate HV reading: Nick
HTCC data reading: Nick, Will?
HTCC run (CODA): ?
HTCC signal treatment / fit: Nick, Will? Hakob fit?
LTCC SPE run: Mauri
Archive organization: disk space and online web page: Mauri / Nick / Will?
Java implementation? Anyone?